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Invocatio
2025 proficiency testing program, in the field of "On-site testing of high-performance measuring equipment"
Objective, main tasks:
VIA-S Kft. proficiency office (hereinafter: JI) announces for organizations, businesses and people performing laboratory tests in the construction industry high-performance measuring equipment
- Properties of the road pavement surface Operating on the laser principle (RST)
- Slip resistance of the road surface (SCRIM, ASFT)
- Load capacity of road structures (KUAB-FWD-CURVIA-LACROIX DynaTest)
- Visibility of road markings during the day and/or at night (ECODYN, RMT)

The 2025 proficiency testing program of on-site inspections in order to prove proficiency.
During the evaluation, the various parameters measured by the test equipment are evaluated separately and the results achieved are listed separately in the Report and the Certificate.

The proficiency testing program is organized, sorted and evaluated by JI according to the (MSZ) EN ISO/IEC 17043 standard.

a) Name and address of the proficiency test provider:
VIA-S Kft. proficiency office
Head office: H-1221 Budapest, Leányka utca 5.
Office and mailing: H-2030 Érd, Bikszádi utca 6.
Phone number: +36 1 248 1931
Fax number: +36 1 248 1932
e-mail: jartassagi.iroda@via-s.hu; 	via-s@via-s.hu 
Website: www.via-s.hu

VIA-S Kft. Proficiency Office accredited by NAH under number NAH-8-0006/2024 organization is organizing the proficiency test.

b) People coordination the proficiency system:
name,position: Horváth Viktória Proficiency Office Manager       Szabó-Csicsai Tina Coordinator
Phone number:           +36 20 220 3073					                +36 20 317 7040
e-mail:jartassagi.iroda@via-s.hu

c) Requirements for participation in the proficiency testing program
All applying entrepeneurs can participate in the proficiency testing program if:
- has the necessary personal conditions to perform the announced tests,
- has the material conditions necessary to perform the announced tests,
- the applicant's measurement can be traced (the devices used for the test are calibrated and the  measurement uncertainty is known).
The fulfillment of the listed conditions is confirmed by the representative of the laboratory by signing the application form.

d) Minimum number of participants:
The minimum number of people required to start a proficiency test is not defined
The main sources of errors arising during the proficiency testing program:
In order to avoid the main sources of error on the part of the participants, a guide will be provided along with the list of sections to be tested in the proficiency test, which the participants must follow in full.

e) Independence of participants from each other, prevention of falsification of results. Ethical rules for participation in the proficiency testing program
By signing the application form and the contract, the participating laboratories assume responsibility for the performance of the tests and the purity of the test results.
The laboratories provide the test results in the results request table provided by JI together with the electronic submission of the test reports.
The condition for including the tables in the assessment is that they are completely filled in and that the measured and calculated values ​​are communicated in the manner specified in the standard. Incomplete or incorrectly completed tables will be returned before the evaluation.
Ethical rules for participation:
- The participating laboratory performs the measurement with its own equipment and personnel at the time specified by the JI,
- The participating laboratory performs the measurement using the specified method and repetition number,
- You cannot communicate or coordinate your results with additional participating laboratory/laboratories neither in writing nor in question.

f) Presentation of the proficiency testing program
The detailed description of the tests included in the program (parameters to be tested and the fee items) is contained in section 1 of this appeal, which is available on the JI website together with the application form.
On the application form, the tests that belong to areas that are yet to be accredited (JI does not have accreditation) are listed in italics.

g) Schedule of the proficiency testing program:

Sending out the invitation to apply (published on www.via-s.hu website):
2025.january 25.

Way of application and deadline:
2025.february 28 by filling and returning the application form.

The deadline for signing and for the contract to take effect:
2025.march 31.
By signing the contract, the applicant acknowledges that VIA-S Kft. is entitled to invoice 50% of the participation fee. Settlement of the counter value of the 2nd invoice is after the participation in the proficiency test, which is the condition of the evaluation.


Carrying out proficiency tests:
Between May 19, 2025 and May 31, 2025, in a time interval of about 2 weeks, depending on weather conditions, in Hungary - we will specify the exact location later.

- The deadline for sending the test results in the table sent by JI together with the measurement notes containing the test results (measurement sheet, test report) electronically:
2025.june 15.

The companies who have applied must send the results of the on-site measurements in the Nagyteljesítményű helyszíni-2025.xls table - together with the measurement notes issued on the measurements -   to the Proficiency Office by e-mail by 2025. June 15.

- Deadline for processing test results submitted by participating laboratories:
2025.july 15.

- Deadline for issuing the Proficiency Report:
2025.july 31.

The laboratory receives the unlocking of the code in the Proficiency Report (which identifies the laboratory)will be sent in a separate notification.

h) Unified results notification form:
The JI provides the participating laboratories with unified result reporting, by making it available electronically to all participating laboratories, and also makes the Results Reporting table available on the www.via-s.hu website.

i) Origin of the designated value, metrological traceability and measurement uncertainty of the designated value:
During the tests, a direct target value cannot be determined, so the average value obtained from the individual values ​​of the participating laboratories is the presumed target value.
In the case of JV, using the method detailed in Procedure Instruction No. 3 performing the Grubbs test (outlier search) after the tests is estimated as the mean value of the "remaining" test results and in the case of ILC, it is estimated as the mean value of the results reported by the laboratories.
ISO 13528 7.2. according to the determination of the measurement uncertainty of the target value is calculated using the formula below.


Where:
 uchar: measurement uncertainty that features JV,
uhom: measurement uncertainty arising from sample inhomogeneity,
utrans: measurement uncertainty arising from the transportation of the sample,
ustab: measurement uncertainty arising from the change (stability) of a sample over time.
Homogeneity measurement uncertainty (uhom): it is defined as the average of the repeatability deviation of the individual parameters
In the case of test parameters not characterized by a homogeneity test, the measurement uncertainty of the homogeneity is estimated from the JV standard deviation of the tested parameters and the percentage ratio of the homogeneity standard deviation. The measurement uncertainty is highlighted in an annex to the report.

j) Criteria for evaluating the performance of the participants:
The statistical grade of the performance of the participants is B.4.1 of section B of the (MSZ) EN ISO/IEC 17043 standard. is determined according to section c/1 (factor z).
The National Accreditation Authority considers the evaluation of the operation of the laboratory to be adequate (acceptable) if the results of the laboratory on the proficiency test meet the following conditions: – no unsatisfactory result occurs for any measured quantity (3<|z|),
the number of uncertain (questionable) results is less than 20% (2<|z|<3, occurs in less than 20% of cases).

k) Data and information to be returned to the participating laboratories:
The JI publishes this invitation, as well as the file required for applying for the proficiency testing program, via in e-mail message and on its website.
After the assessed results sent back by the participating laboratories, JI issues the following documents:
Proficiency Report:
The proficiency is issued at the end of the examination program. In this document, JI summarizes all information regarding the proficiency testing program in accordance with the requirements of the (MSZ) EN ISO/IEC 17043 standard. An integral part of the report is the information on the homogeneity of the samples, the aggregate evaluation of the laboratories per test standard/procedure, and where the graphical evaluation and image can be interpreted. The proficiency report also includes the communication of the individual results of each participating laboratory. (JI lists the "z" values ​​for the individual results submitted by the laboratory for each test standard and/or test procedure.)
Certificate of participation:
The certificate of participation is the communication of the individual results of each participating laboratory. (JI lists the "z" values ​​for the individual results submitted by the laboratory for each test standard and/or test procedure.)
The certificate is prepared in Hungarian or, upon request, in English.

l)Publicity of examination results and conclusions drawn:
JI publishes the Proficiency Report in a downloadable format on its website, in which the names of the laboratories are not shown in the evaluation tables, but only their code numbers. Each participating laboratory receives the unlocking of the code in the Proficiency Report - which identifies the laboratory - individually, in a separate notification. Based on the code numbers, the laboratory can only identify its own results.

m)Exchange or replacement of lost or damaged test items:
For the announced tests, this point cannot be interpreted

n) Contact
About the possible time and location of the tests, as well as additional information about the performance of the tests and information about the evaluation of the submitted results. The published information listed above can be found on its website under the News menu item. With other questions we are available on working days between 9 a.m. and 1 p.m. on the telephone numbers indicated by the contacts/coordinating persons.

Attachments to the invocation:
Application form: Standards and prices announced during the proficiency test.  


Érd, 2025 january 25.



Horváth Viktória s.k.			Szabó-Csicsai Tina
VIA-S Kft. Jártassági Iroda			VIA-S Kft. Jártassági Iroda
Irodavezető				Koordinátor
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